## Slide 1: EPICS Version 4 – Development Plan
V4 Team – presented by Bob Dalesio
EPICS Meeting
October 12, 2010

## Slide 2: Outline
Version 3 recap
Version 4
High Level Application Architecture
Conclusions

## Slide 3: Version 3
Started at GTA in 1985 at LANL as a tool set used to develop a space based accelerator. Developed core: channel access and process database, SNL, EDD/DM, save/restore, archive.
In 1989 several international and domestic labs showed interest to use it. Collaboration made with APS. EPICS release shows up in 1991 with process database rewritten to clarify the interface to hardware and new record types. Channel access continues to mature.
Data types in Channel Access stay the same.
Record structure stays the same – flat records with metadata in an imperfect state.
The metadata for alarm, display, and control provide good interface for engineer clients
Limitations on large data sets reflected in limited applications and creative use of waveform record.
Successfully applied to many applications (warts and all) proving the concept
Produced 124 man years of useful software – which is 10% or less of what was actually written.

## Slide 4: EPICS Version 3 Architecture
Distributed Front-Ends
MMLT Client
Physical Device
Ethernet
Production HLA Client
CAC
CAC
Control System Studio
CAC
Diag Database
CAS
Physical Device
PS Database
CAS
Physical Device
RF Database
CAS
Physical Device
Vac Database
CAS
Physical Device
Util Database
CAS
Matlab, SDDS, Python
CAC
Diamond Simulation
Diag & PS
CAS
Channel Archiver
CAC
Data Types:
Dbr_Time_(Double, Enum, Long, String) time stamp, alarm status, alarm severity
Dbr_Ctrl_(Double, Enum, Long, String) above plus display, alarm, and control parameters
Also arrays – one dimension that were overloaded for everything else such as images in areaDetector

## Slide 5: PV Manager Aggregates V3 into V4 Types
Distributed Front-Ends
MMLT Client
Physical Device
Ethernet
Production HLA Client
CAC
CAC
Control System Studio
CAC
Diag Database
CAS
Physical Device
PS Database
CAS
Physical Device
RF Database
CAS
Physical Device
Vac Database
CAS
Physical Device
Util Database
CAS
Matlab, SDDS, Python
CAC
Diamond Simulation
Diag & PS
CAS
Channel Archiver
CAC
Multi-Channel Arrays – complete
Tables – complete
Statistical Samples – complete
Multi-dimensional arrays – not complete
Images – Incomplete
PVManager
XML/HTTP
Channel Finder Svr
SQL
RDB
C
F
C

## Slide 6: V4 Serves V3 Data Types
Distributed Front-Ends
MMLT Client
Physical Device
Ethernet
Production HLA Client
CAC
CAC
Control System Studio
CAC
Diag Database
CAS
Physical Device
PS Database
CAS
Physical Device
RF Database
CAS
Physical Device
Vac Database
CAS
Physical Device
Util Database
CAS
Matlab, SDDS, Python
CAC
Diamond Simulation
Diag & PS
CAS
Channel Archiver
CAC
PVManager
XML/HTTP
Channel Finder Svr
SQL
RDB
C
F
C
PVAC
PVAC
PVAS
PVAS
PVAS
PVAS
PVAS
PVAS

## Slide 7: Orbit Service Uses Multi-Channel Arrays
Distributed Front-Ends
MMLT Client
Physical Device
Ethernet
Production HLA Client
CAC
CAC
Control System Studio
CAC
Diag Database
CAS
Physical Device
PS Database
CAS
Physical Device
RF Database
CAS
Physical Device
Vac Database
CAS
Physical Device
Util Database
CAS
Matlab, SDDS, Python
CAC
Diamond Simulation
Diag & PS
CAS
Channel Archiver
CAC
PVManager
XML/HTTP
Channel Finder Svr
SQL
RDB
C
F
C
PVAC
PVAC
PVAS
PVAS
PVAS
PVAS
PVAS
PVAS
PVAS
Gather Service
CAC
Xml/http
Serves orbit,
magnets,
any array of channels

## Slide 8: Orbit Service Uses Multi-Channel Arrays
Distributed Front-Ends
MMLT Client
Physical Device
Ethernet
Production HLA Client
CAC
CAC
Control System Studio
CAC
Diag Database
CAS
Physical Device
PS Database
CAS
Physical Device
RF Database
CAS
Physical Device
Vac Database
CAS
Physical Device
Util Database
CAS
Matlab, SDDS, Python
CAC
Diamond Simulation
Diag & PS
CAS
Channel Archiver
CAC
PVManager
XML/HTTP
Channel Finder Svr
SQL
RDB
C
F
C
PVAC
PVAC
PVAS
PVAS
PVAS
PVAS
PVAS
PVAS
PVAS
Gather Service
CAC
Xml/http
Serves orbit,
magnets,
any array of channels

## Slide 9: Archiver Modified to Support V4
Distributed Front-Ends
MMLT Client
Physical Device
Ethernet
Production HLA Client
CAC
CAC
Control System Studio
CAC
Diag Database
CAS
Physical Device
PS Database
CAS
Physical Device
RF Database
CAS
Physical Device
Vac Database
CAS
Physical Device
Util Database
CAS
Matlab, SDDS, Python
CAC
Diamond Simulation
Diag & PS
CAS
Channel Archiver
CAC
PVManager
XML/HTTP
Channel Finder Svr
SQL
RDB
C
F
C
PVAC
PVAC
PVAS
PVAS
PVAS
PVAS
PVAS
PVAS
PVAS
Gather Service
CAC
Xml/http
Serves orbit,
magnets,
any array of channels
PVAC

## Slide 10: Use PVManager as a V4 Service
Distributed Front-Ends
MMLT Client
Physical Device
Ethernet
Production HLA Client
CAC
CAC
Control System Studio
CAC
Diag Database
CAS
Physical Device
PS Database
CAS
Physical Device
RF Database
CAS
Physical Device
Vac Database
CAS
Physical Device
Util Database
CAS
Matlab, SDDS, Python
CAC
Diamond Simulation
Diag & PS
CAS
Channel Archiver
CAC
PVManager
XML/HTTP
Channel Finder Svr
SQL
RDB
C
F
C
PVAC
PVAC
PVAS
PVAS
PVAS
PVAS
PVAS
PVAS
PVAS
Gather Service
CAC
Xml/http
Serves orbit,
magnets,
any array of channels
PVAC
PVAS
PVManager Service
CAC
Serves Tables
Mutti-channel arrays
Statistics

## Slide 11: Provide Configuration Data as V4 Service
Distributed Front-Ends
MMLT Client
Physical Device
Ethernet
Production HLA Client
CAC
CAC
Control System Studio
CAC
Diag Database
CAS
Physical Device
PS Database
CAS
Physical Device
RF Database
CAS
Physical Device
Vac Database
CAS
Physical Device
Util Database
CAS
Matlab, SDDS, Python
CAC
Diamond Simulation
Diag & PS
CAS
Channel Archiver
CAC
PVManager
XML/HTTP
Channel Finder Svr
SQL
RDB
C
F
C
PVAC
PVAC
PVAS
PVAS
PVAS
PVAS
PVAS
PVAS
PVAS
Gather Service
CAC
Xml/http
Serves orbit,
magnets,
any array of channels
PVAC
PVAS
PVManager Service
CAC
Serves Tables
Mutti-channel arrays
Statistics
PVAS
Configuration Data
SQL
IRMIS
Serves
Alignment
Magnet Conv

## Slide 12: Connect CSS to V4 with Channel Finder Svc
Distributed Front-Ends
MMLT Client
Physical Device
Ethernet
Production HLA Client
CAC
CAC
Control System Studio
CAC
Diag Database
CAS
Physical Device
PS Database
CAS
Physical Device
RF Database
CAS
Physical Device
Vac Database
CAS
Physical Device
Util Database
CAS
Matlab, SDDS, Python
CAC
Diamond Simulation
Diag & PS
CAS
Channel Archiver
CAC
PVManager
PVAS
Channel Finder Svr
SQL
RDB
PVAC
PVAC
PVAS
PVAS
PVAS
PVAS
PVAS
PVAS
PVAS
Gather Service
CAC
Xml/http
Serves orbit,
magnets,
any array of channels
PVAC
PVAS
PVManager Service
CAC
Serves Tables
Mutti-channel arrays
Statistics
PVAS
Configuration Data
SQL
IRMIS
Serves
Alignment
Magnet Conv
PVAC

## Slide 13: Build Application Specific Services
Distributed Front-Ends
MMLT Client
Physical Device
Ethernet
Production HLA Client
CAC
CAC
Control System Studio
CAC
Diag Database
CAS
Physical Device
PS Database
CAS
Physical Device
RF Database
CAS
Physical Device
Vac Database
CAS
Physical Device
Util Database
CAS
Matlab, SDDS, Python
CAC
Diamond Simulation
Diag & PS
CAS
Channel Archiver
CAC
PVManager
PVAS
Channel Finder Svr
SQL
RDB
PVAC
PVAC
PVAS
PVAS
PVAS
PVAS
PVAS
PVAS
PVAS
Gather Service
CAC
Xml/http
Serves orbit,
magnets,
any array of channels
PVAC
PVAS
PVManager Service
CAC
Serves Tables
Mutti-channel arrays
Statistics
PVAS
Configuration Data
SQL
IRMIS
Serves
Alignment
Magnet Conv
PVAC
UnitConv., Bump, etc..
PVAS
PVAC

## Slide 14: Out of Scope – V4 Database/Drivers
Distributed Front-Ends
MMLT Client
Physical Device
Ethernet
Production HLA Client
CAC
CAC
Control System Studio
CAC
Diag Database
CAS
Physical Device
PS Database
CAS
Physical Device
RF Database
CAS
Physical Device
Vac Database
CAS
Physical Device
Util Database
CAS
Matlab, SDDS, Python
CAC
Diamond Simulation
Diag & PS
CAS
Channel Archiver
CAC
PVManager
PVAS
Channel Finder Svr
SQL
RDB
PVAC
PVAC
PVAS
PVAS
PVAS
PVAS
PVAS
PVAS
PVAS
Gather Service
CAC
Xml/http
Serves orbit,
magnets,
any array of channels
PVAC
PVAS
PVManager Service
CAC
Serves Tables
Mutti-channel arrays
Statistics
PVAS
Configuration Data
SQL
IRMIS
Serves
Alignment
Magnet Conv
PVAC
UnitConv., Bump, etc..
PVAS
PVAC

## Slide 15: Extend the V3 Records for New Data
Distributed Front-Ends
MMLT Client
Physical Device
Ethernet
Production HLA Client
CAC
CAC
Control System Studio
CAC
Diag Database
CAS
Physical Device
PS Database
CAS
Physical Device
RF Database
CAS
Physical Device
Vac Database
CAS
Physical Device
Util Database
CAS
Matlab, SDDS, Python
CAC
Diamond Simulation
Diag & PS
CAS
Channel Archiver
CAC
PVManager
PVAS
Channel Finder Svr
SQL
RDB
PVAC
PVAC
PVAS
PVAS
PVAS
PVAS
PVAS
PVAS
PVAS
Gather Service
CAC
Xml/http
Serves orbit,
magnets,
any array of channels
PVAC
PVAS
PVManager Service
CAC
Serves Tables
Mutti-channel arrays
Statistics
PVAS
Configuration Data
SQL
IRMIS
Serves
Alignment
Magnet Conv
PVAC
UnitConv., Bump, etc..
PVAS
PVAC

## Slide 16: Version 4
Marty “retires” to dedicate his time to creating a hierarchical data type / database implementation in 2006.
Some SBIR funding provides additional resources (read Matej Sekoranja at Cosylab) to develop a network transport layer. 2009.
A second developer creates a version 3 set of records in 2009.
2009-2010 The NSLS High Level Application team (Nikolay Malitsky and Guobao Shen) independently evaluate many platforms for high level physics applications and determine that PVAccess and PVData appear the most promising.
2010 meeting at BNL with Greg White (SLAC), James Roland (Diamond), and those named above to develop the limited set of PVData to be implemented in PVData and PVAccess.
Going forward NSLS II is dedicated to providing a Client/Server environment for new applications that we have not supported well in the past:
  Multi-dimensional arrays, Images, Statistical Data, Tables, ........
A PVAccess plug-in for version 3 databases will also be developed to allow high level clients to have one interface to both versions.

## Slide 17: Conclusions
  The interfaces look like a very straight forward fit for improving the architecture of applications such as: areaDetector, Matlab Middle Layer Toolkit, SDDS, XAL, GDA, MDS+, other application areas?
  LSII is committed to applying this technology to physics applications.
  Low level applications are not yet compelling
  With each expansion of this development team, the code went through very significant refactoring.
  We are in the stage of development most similar to the transition from GTACS to EPICS (early, immature, risky, changeable).
  New structures are easy to create – but we plan to carefully limit these to general and useful structures. (this is the opposite of introspection)